Standard Features:

GROUND WORK:

Foundation excavation and excess removal

Sewer and water hookup up to 35’

Drain tile with sump pump

Water pumping as necessary from hole

Backfill foundation

Rough grade

Concrete driveway

Landscape allowance

STRUCTURAL:

Damp proofed, poured concrete walls with brick pattern on one side (owner’s choice)

Bolted and air sealed sill plates

½” OSB rough sheathing with clips

Owens Corning foam insulating wall sheathing

Tyvek house wrap

Vapor barrier on all exterior walls and ceilings

Approved hurricane clips and ties

Ice and water shield in all roof valleys

I-joist flooring system

¾” tongue and groove LP OSB “self-draining” sub-floor

Glued and mechanically fastened sub-floor to eliminate squeaks

Insulated sills

200amp electrical service

EXTERIOR:

Maintenance free vinyl siding

Architectural shingles

Continuous ridge vent

Jeld-wen Low-E windows with screens

Johns Manville fiberglass insulation exterior walls and ceilings

Manteca free aluminum soffit and fascia

Seamless gutters

CHI Steel garage door and Liftmaster opener

3 frost proof hose bibs

2 outdoor GFCI outlets in approved enclosures

Exterior lighting by all exterior doors

Exterior door allowance

INTERIOR:

One hour rated firewall at garage wall

Carrier high efficiency forced air furnace and air conditioner

Bradford White 50 gallon high efficiency water heater

Programmable thermostat

USG Drywall on interior ceilings and walls

Basement future rough in for full bath if plan allows

Smoke detectors in all bedrooms and each floor including basement

Gas or electric washer/dryer/range hook-ups

Phone and cable jack one per each room (excluding bathrooms and laundry room)

Double bowl stainless steel Kitchen sink

Laundry room soundproofing

Deep single bowl laundry sink in laundry room

Kohler sinks, toilets and tubs in bathrooms

Moen faucets

Pressure balancing faucets in showers

Individual shut-offs for all sinks and toilets

Exterior vented bathroom exhaust fans

Mirrors in baths

6 panel doors throughout

Painting and staining allowance

Cabinet and countertop allowance

Floor covering allowance

Ceiling lights in all bedrooms

Light fixture allowance

Wire closet shelving

MISCELLANEOUS:

Permit allowance

Jobsite dumpster and final cleanup

Snow plowing for one season upon owner’s request

***All Items are subject to change without notice***